## Sheet1
Property Address
Contractor Name/address
License #
Tel. #
Cell #
Building Permit Number
Zone #
Total Zone Sq. Footage
HVAC LOAD CALCULATIONS (IRC M1401.3)
Design Conditions |  |  |  | Building Construction Information
Winter Design Temp in deg (F) |  |  |  |  | Building
Outdoor Temperature deg | 17 |  | Orientation: Front Door Faces:
Indoor Temperature deg | 70 |  |  | Number of Bedrooms
Total Heat Loss in BTU's |  |  | Conditioned Floor Area
Number of Occupants
Outdoor Temperature | 95 |  |  |  | Windows
Indoor Temperature | 75 |  | Eave Overhang Depth in inches
Grains Diff @ 50% Rh |  |  | Internal Shade
Sensible Heat in BTU's |  |  | Number of Skylights
Latent Heat in BTU's
Total Heat Gain in BTU's
HVAC EQUIPMENT SELECTION (IRC M1401.3)
Heating Equipment Data |  |  |  | Cooling Equipment Data
Equipment Type |  |  |  | Equipment Type |  | Air Conditioner
Mfg. & Model Number |  |  |  | Mfg. & Model No.
Heating output capacity @ 17 deg F: |  |  |  | Sensible Cooling Capacity- BTU's Smallest stage
1st Stage BTU's |  |  |  | Sensible Cooling Capacity- BTU's Largest stage
2nd Stage BTU's |  |  |  | Total Cooling Capacity - BTU's Smallest stage
Auxiliary Heating Output Capacity in BTU's |  |  |  | Total Cooling Capacity - BTU's Largest stage
Blower Data | IS HVAC EQUIPMENT MULTI-STAGE? YES ____ NO ____
Heating CFM | PROVIDE DOCUMENTATION SUPPORTING MULTI-STAGE EQUIPMENT.
Cooling CFM
HVAC DUCT DISTRIBUTION SYSTETM DESIGN (IRC M1601.3)
Design Airflow in CFM |  | CFM |  | Longest Supply Duct in Feet
Ext Static Pressure (ESP) |  | IWC |  | Longest Return Duct in Feet
Comp Static Pressure (CPL) |  | IWC |  | Total Effective Length (TEL)
Avail Static Pressure (ASP) |  | IWC |  | Friction Rate (FR) |  |  | IWC
asp=esp-cpl |  |  |  | Friction Rate = (ASP x 100) /TEL
Duct Materials Used
Trunk |  | Branch
I hereby certify that the load caculation, equipment selection and duct system design were rigorously performed based on the building plan listed above. I understand the claimes made on these forms will be subject to review and verification
Print Name |  |  |  | Date:
Signature
R:\Manuals J-S-D-N -CERT FORM/RESIDENTIAL HEAT LOSS-GAIN CERT EST AUG 2012
Required Documentation
Manual J1 or MJ1AE Form (and supporting worksheets)
OEM performance data (heating-cooling-blower)
Manual "D" friction rate worksheet
Duct distribution system sketch
IF KITCHEN EXHAUST HOOD RATE IS 400 CFM OR GREATER. MAKEUP AIR IS REQUIRED !